AHU Preventive Maintenance Checklist

Sample PPM checklist for Air Handling Units — HVAC

Site / Building:  ______________________     Asset Ref:  ______________________

Technician:  ______________________     Date:  ______________________

Maintenance Tasks

| # | Task | Freq. | Done | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Inspect and clean supply/return air filters | M |  |  |
| 2 | Inspect cooling coil fins for fouling or damage | M |  |  |
| 3 | Check and clean condensate drain pan and trap | M |  |  |
| 4 | Inspect fan belts for wear and correct tension | M |  |  |
| 5 | Lubricate fan and motor bearings | Q |  |  |
| 6 | Check fan blade condition and vibration | Q |  |  |
| 7 | Test supply/return/fresh air damper actuators | Q |  |  |
| 8 | Check electrical connections and motor terminals | Q |  |  |
| 9 | Record supply/return air temperature and pressure | M |  |  |
| 10 | Inspect BMS sensors and interlocks | A |  |  |
| 11 | Clean unit casing and surrounding plant area | M |  |  |
| 12 | Full annual overhaul — bearings, belts, coil clean | A |  |  |

Frequency key: W = Weekly, M = Monthly, Q = Quarterly, A = Annually

Sign-off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Technician |  |  |  |
| FM Supervisor |  |  |  |
| Client / Witness |  |  |  |