Emergency Lighting Test Log

Sample monthly function test and annual duration test log — Fire & Life Safety

Site / Building:  ______________________     Year:  ______________________

Monthly Function Test (30-Second Test)

| Month | Zones Tested | All Units Functioning | Faults Found | Tested By |
| --- | --- | --- | --- | --- |
| January |  |  |  |  |
| February |  |  |  |  |
| March |  |  |  |  |
| April |  |  |  |  |
| May |  |  |  |  |
| June |  |  |  |  |
| July |  |  |  |  |
| August |  |  |  |  |
| September |  |  |  |  |
| October |  |  |  |  |
| November |  |  |  |  |
| December |  |  |  |  |

Annual Full Duration Test

A full duration discharge test (3 hours for 3-hour rated units) must be carried out annually to confirm the central battery system or self-contained units hold charge for the full rated period.

| Test Date | Duration Achieved | Result | Tested By | Remarks |
| --- | --- | --- | --- | --- |

Notes

Report any luminaire that fails to illuminate or does not hold charge for the required duration to the FM Supervisor immediately, and log the corrective action taken.

Sign-off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Tested by |  |  |  |
| FM Supervisor |  |  |  |