Fire Extinguisher Inspection Checklist

Sample monthly inspection checklist for portable fire extinguishers — Fire & Life Safety

Site / Building:  ______________________     Inspection Date:  ______________________

Inspected by:  ______________________     Total Units:  ______________________

Inspection Record

| # | Location / Ref | Type | Pressure OK | Seal Intact | Pass/Fail | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |

Monthly Inspection Points

- Check pressure gauge indicator is in the green zone.

- Confirm safety pin and tamper seal are intact and unbroken.

- Check for visible damage, corrosion, or leakage on the cylinder body.

- Confirm extinguisher is mounted correctly and unobstructed.

- Verify the extinguisher type matches the hazard class of the area.

- Check inspection tag is present and up to date.

Annual Service Reminder

Extinguishers require a full annual service by a certified contractor, and CO2/powder units are typically due for recharge or replacement every 5 years — confirm against manufacturer guidance and local fire code requirements.

Sign-off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspected by |  |  |  |
| FM Supervisor |  |  |  |