LV Panel Inspection Checklist

Sample inspection checklist for LV distribution boards — Electrical

Site / Building:  ______________________     Panel Ref:  ______________________

Technician:  ______________________     Date:  ______________________

Inspection Tasks

| # | Task | Freq. | Done | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Visual inspection for overheating, damage or moisture | Q |  |  |
| 2 | Check all circuit breakers are labelled and accessible | Q |  |  |
| 3 | Record voltage L-N and L-L on all phases | Q |  |  |
| 4 | Record load current on all phases vs. rated capacity | Q |  |  |
| 5 | Test all RCDs / ELCBs using test button | Q |  |  |
| 6 | Check tightness of busbars and termination bolts | A |  |  |
| 7 | Inspect cable insulation at all connections | Q |  |  |
| 8 | Inspect earthing connections and continuity | A |  |  |
| 9 | Thermal imaging survey under full load | A |  |  |
| 10 | Check panel door seals and interlocks | Q |  |  |

Frequency key: Q = Quarterly, A = Annually

Sign-off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Technician |  |  |  |
| FM Supervisor |  |  |  |