Water Tank Cleaning Checklist

Sample cleaning and disinfection checklist for cold water storage tanks — Plumbing

Site / Building:  ______________________     Tank Ref:  ______________________

Technician:  ______________________     Date:  ______________________

Cleaning Tasks

| # | Task | Done | Remarks |
| --- | --- | --- | --- |
| 1 | Isolate tank inlet and outlet valves |  |  |
| 2 | Drain tank fully and remove sediment/debris |  |  |
| 3 | Inspect tank interior for damage or contamination |  |  |
| 4 | Scrub and wash all internal surfaces |  |  |
| 5 | Apply approved disinfectant per L8/HSG274 guidance |  |  |
| 6 | Allow correct contact time before rinsing |  |  |
| 7 | Rinse thoroughly until disinfectant residue is clear |  |  |
| 8 | Refill tank and check float valve operation |  |  |
| 9 | Take water sample — chlorine residual and clarity |  |  |
| 10 | Update water hygiene logbook |  |  |

Sign-off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Technician |  |  |  |
| FM Supervisor |  |  |  |
| Client / Witness |  |  |  |